| Journal Name: | Asian Basic and Applied Research Journal |
| --- | --- |
| Manuscript Number: | Ms_ABAARJ_1948 |
| Title of the Manuscript: | Performance Analysis of Grid Connected Wind Turbine Generators under System Disturbances Using MATLAB |
| Type of the Article |  |

| - PART 1: Comments |  |  |
| --- | --- | --- |
|  | - Reviewer’s comment - Artificial Intelligence (AI) generated or assisted review comments are strictly prohibited during peer review. | - Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | Simulation model is developed for only PMSG and results were shown for both PMSG and DFIG Optimisation techniques nor methods are shown |  |
| Is the title of the article suitable? (If not please suggest an alternative title) | yes |  |
| - Is the abstract of the article comprehensive? Do you suggest the addition (or deletion) of some points in this section? Please write your suggestions here. | Need to rewritten focusing more on the outcome |  |
| - Is the manuscript scientifically, correct? Please write here. | No |  |
| Are the references sufficient and recent? If you have suggestions of additional references, please mention them in the review form. | Few more references can be added |  |
| - Is the language/English quality of the article suitable for scholarly communications? | yes |  |
| - Optional/General comments | The paper need to be modified - In Table-2 and Table-4 it is shown as rated power as 1.5 MW but in fig 5 and fig 7, the results show that 30MW is generated which is completely conflicting. - The rated voltage shown is Table-3 is 690V, but in fig5 and fig 7, in results it is shown as 10kV which is again a deviation and also check the current value. - What is the transformer rating? - In transient state the there will be more voltage spikes compared to steady state , the results shown in fig 7 and fig 8 are showing high values - Validation of results to be done - Results to be tabulated - need adequate information about the results - Forward and reverse voltage shown in tabke-2 is 100 kV which is not realistic - Control of DFIG simulation block is not shown - Optimisation techniques nor methods are shown |  |

| PART 2: |  |  |
| --- | --- | --- |
|  | - Reviewer’s comment | - Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| Are there ethical issues in this manuscript? | (If yes, Kindly please write down the ethical issues here in detail) no |  |

Reviewer Details:

- Madhu Palati, BMS Institute of technology and Management, India